## Summarized parts list
Part Number | Manufacturer | Description | Quantity
1001404 | Elettrotek Kabel | Control Flexible Not Sheilded Cable, 4 Conductor, 14AWG, 600V, 90degC, 10.46mm OD, uom=M | 30
1001603 | Elettrotek Kabel | Control Flexible Not Sheilded Cable, 3 Conductor, 16AWG, 600V, 90degC, 7.92mm OD, uom=M | 30
1001604 | Elettrotek Kabel | Control Flexible Not Sheilded Cable, 4 Conductor, 16AWG, 600V, 90degC, 7.92mm OD, uom=M | 30
THTEP-171-593-.5 | BRADY | Device Label , White, 1.06'' X 0.49'', B-593 Raised | 3
THTEP-178-593-.5 | BRADY | Device Label , White, 3'' X 3.5'', B-593 Raised | 1
569251 | ERICO | UD-400A-212AL Single Pole Distribution Block | 5
45034 | Icotek | KVT 20, CIRCULAR SPLIT FRAM CABLE ENTRY, 20mm GREY | 16
43846 | Icotek | FP-AE 339¦149-4 / Cable flange plate, 4 x cut-out 36 x 112 mm, for Rittal AE, IP54 | 2
42241 | Icotek | KEL 24¦10 / Cable entry frame, centrally split, double row, IP54 | 1
41251 | Icotek | BTK gy / Blank grommet, small, IP54 | 10
42024 | Icotek | BPK 24 / Blank plate, plastic, screw assembly, IP64 | 2
4000-73000-0010000 | Murrelektronik | MSDD Service Receptacle RJ45 CAT5E Female/Female | 17
7000-44851-7940050 | Murrelektronik | M12 fem. recept. D-cod. rear/RJ45 male 0° shielded | 11
7000-13581-0000000 | Murrelektronik | Threaded nut, M16 x 1.5mm, For flange mounted M12 Receptacle | 13
7000-74311-7900100 | Murrelektronik | RJ45 male 0°/RJ45 male 0° Professio.-Line Gigabit PUR 4x2xAWG26 shielded gn UL/CSA 1m | 2
7000-44851-7940100 | Murrelektronik | Ethernet Cable 1m, M12 FEMALE, RECEPT, D-COD RM/RJ45, 1m | 2
7700-74301-S4U0200 | Murrelektronik | 2m CAT5E TPE Network Cable, RJ45 To RJ45 Straight, Drag Chain Rated, 600V | 1
7700-74301-S4U0500 | Murrelektronik | 5m CAT5E TPE Network Cable, RJ45 To RJ45 Straight, Drag Chain Rated, 600V | 1
7000-51001-7901000 | Murrelektronik | CAT6A Cable, M12 male straight X-coded to M12 male straight X-coded 10 Gigabits, 10M | 1
7000-51001-7902000 | Murrelektronik | CAT6A Cable, M12 male straight X-coded to M12 male straight X-coded 10 Gigabits, 20M | 5
7000-74311-7900050 | Murrelektronik | RJ45 male 0°/RJ45 male 0° Professio.-Line Gigabit PUR 4x2xAWG26 shielded gn UL/CSA 0.5m | 1
7000-12741-0000000 | Murrelektronik | Connector Field-Wireable, M12 male 4P Straight, Screw Termination, MAX 18AWG (0.75mm²) | 20
7000-78111-0000000 | Murrelektronik | 7/8'' male straight field-wireable 5pol | 1
7000-78231-0000000 | Murrelektronik | 7/8'' female straight field-wireable 5pol | 1
9000-41034-0101000 | Murrelektronik | Current monitoring equipment | 5
7000-P6221-P061000 | Murrelektronik | Power S-coded Straight Cable, 10m, 4X1.5, M12 Female (4-pin) To Flying Leads | 1
7000-P6901-0000000 | Murrelektronik | T-Coupler, Male M12-S Code - 2x Female M12 S-Code | 1
7000-08041-6500500 | Murrelektronik | Sensor Cable, 5m Black, M8 Female 3P Straight to Open Ended, Continuous Robotic Flex, PUR-weld | 1
7000-08331-0000000 | Murrelektronik | Connector Field-Wireable, M8 Male 3P Straight, Insulation Displacement Termination, 26AWG-22AWG | 1
7000-P4291-9800150 | Murrelektronik | Connector Flange, M12 L-Code Female 5P Multi-Strand Wire, 5x1.5, 1.5m | 2
7000-17181-9730150 | Murrelektronik | 8 Pole Receptacle, Female, M12, Flange Mount, M16x1.5, 1.5M Leads, 60V, 2A, 24AWG, IP67 | 1
7000-48001-7221000 | Murrelektronik | Sensor cable, 10m Black, M12 Male 8P Straight to M12 Female 8P Straight,Continuous Flex, PUR-OB | 1
7000-P4591-0000000 | Murrelektronik | Connector Field-Wireable, M12 Male 5P L-Coded Straight, Screw Termination, 2.5mm2, Clamping Range 8-13mm Ø | 1
6XV18703QH30 | SIEMENS | INDUSTRIAL ETHERNET FC TP CORD, 4X2, CAT 6A, PREASSEMBLED, 2 RJ45 CONNECTORS, L = 3.0M | 9
6GK5216-0BA00-2AC2 | SIEMENS | SCALANCE XC216 | 2
5SJ4310-7HG42 | SIEMENS | CIRCUIT BREAKER 10KA, 3POLE, C, 10A | 20
5ST3010-0HG | SIEMENS | Auxiliary Switch | 21
5ST3712-3HG | SIEMENS | Pin busbar, 16x (3-phase+AUX/FS) touch-safe-UL489 | 5
5ST3750-3HG | SIEMENS | ENDKAPPE F.STIFT-SS 1-2-3PHASIG | 5
5ST3617 | SIEMENS | Pin busbar, 10 mm2 connection: 4x (3-phase+AUX/FS) touch-safe | 5
5SJ4306-7HG42 | SIEMENS | CIRCUIT BREAKER 10KA, 3POLE, C, 6A | 1
3RQ3118-1AB00 | SIEMENS | PLUG-IN RELAY 24VAC/DC,1CO, SCREW | 1
6ES7155-6AU01-0CN0 | SIEMENS | ET 200SP, IM155-6PN/2 HF | 1
6ES7193-6PA00-0AA0 | SIEMENS | SIMATIC ET 200SP, SPARE PART SERVERMODULE FOR ET 200SP | 1
6ES7193-6AR00-0AA0 | SIEMENS | BA 2XRJ45 | 1
6ES7136-6BA01-0CA0 | SIEMENS | ET 200SP, F-DI 8X24V DC HF | 3
6ES7193-6BP00-0DA0 | SIEMENS | BASEUNIT TYPE A0, BU15-P16+A0+2D | 4
6ES7193-6BP00-0BA0 | SIEMENS | BASEUNIT TYPE A0, BU15-P16+A0+2B | 6
6ES7136-6DC00-0CA0 | SIEMENS | ET 200SP, F-DQ 8x 24VDC/0.5A PP HF | 3
6ES7136-6RA00-0BF0 | SIEMENS | ET 200SP, F-RQ 1x24VDC/24..230VAC/5A ST | 2
6ES7193-6BP20-0BF0 | SIEMENS | BASEUNIT TYPE F0, BU20-P8+A4+0B | 2
6ES7516-3FP03-0AB0 | SIEMENS | CPU 1516F-3 PN/DP, 3MB Prog, 7,5MB Data | 1
6ES7954-8LL03-0AA0 | SIEMENS | SIMATIC S7 MEMORY CARD, 256 MB | 1
6ES7590-1AB60-0AA0 | SIEMENS | PROFILE RAIL, 160MM | 1
6ES7131-6BF01-0BA0 | SIEMENS | (DI 8 X24V DC ST),(Interchangeable with 6ES7131-6BF00-0BA0) | 2
6ES7132-6BF01-0BA0 | SIEMENS | DQ 8X24V DC/0,5A ST, SIMATIC DP, ET 200SP, Digital electronic module. (interchangeable with 6ES7132-6BF00-0BA0) | 2